Document Authorization:

|  | Name | Date | Signature |
| --- | --- | --- | --- |
| Owner | Marites Erfe | 26Jun2019 | See Signature on File |
| Operation Management | Xibo Li | 26Jun2019 | See Signature on File |
| Operation Management | Derek Gauntlett | 26Jun2019 | See Signature on File |
| Quality Assurance | Josephine Gammad | 26Jun2019 | See Signature on File |

Changes from previous version:

| Section | Summary of Changes | Change Control Number |
| --- | --- | --- |
| Header/Document Authorization | Effective date will be stamped on the approved original wet-ink document to adhere with SOP-208812. | DCR19107 |
| 7.2.1 | Step 7.2 sub-steps were renumbered. |  |
| 7.2.2.1 | Paragraph format. |  |
| 7.5 | Changed to sentence case. |  |
| 7.5.5 | Changed to Manufacturing Batch Record. |  |

- PURPOSE

The purpose of this document is to define and offer a consistent approach on how LGC conducts its business. Quality Policy confirms and reinforces to staff that LGC considers the management of quality, health, safety, ethics and the environment to be equal to any other management function. The management system ensures that LGC's services meet the requirements of its customers and fulfil appropriate Quality Standards. LGC is committed to the continual improvement of the service and of its management system.

- SCOPE

LGC Bio search Technologies provides GMP compliant contract manufacturing of Active Pharmaceutical Ingredients (APls or Drug Substance) and Quality Control (QC) release of oligonucleotides intended for pre-clinical and early phase clinical therapeutic use at its Petaluma site in California, US, referred to in this policy simply as 'LGC'. Additionally, the QC laboratory might be used to support CMC activities outside the scope of contract manufacturing.

It is the policy of LGC to comply with all Regulatory and voluntary requirements that relate to its business, LGC will specifically comply with regulations including but not limited to the following:

•    Current Good Manufacturing Practice as defined in Code of Federal Regulations, Title 21 Part 210 and 211: Current Good Manufacturing Practice in Manufacturing, Processing, Packing or Holding of Drugs and Current Good Manufacturing Practice for Finished Pharmaceuticals

•    International Conference on Harmonization (ICH) Quality Guidelines for Good Manufacturing Practice Guidance for Active Pharmaceutical Ingredients (Q7), Quality Risk Management (Q9) and Pharmaceutical Quality System (Q10).

The Quality policy and associated procedures have been written to meet the explicit requirements of Good Manufacturing Practice and to guarantee Data Integrity, robust methods, validated equipment and reconstructed records. All personnel concerned with GMP activities must familiarize themselves with the quality documentation and implement the policies in their work.

LGC takes a risk-based approach to systems management and is committed to building a positive culture of improvement within the organization

Other activities of the site might include custom oligonucleotide manufacturing for research and development applications, including design and discovery scale synthesis for diagnostic and therapeutic oligonucleotides, as well as production of oligonucleotide synthesis reagents. This work will be conducted to the same standards described above although some specific regulatory steps will not be required. Details for such work will be documented in the relevant batch records or testing plan/reports.

- INTERNAL REFERENCES

| Document ID | Title |
| --- | --- |
| POL-208850 | Site Master File |
| POL-208881 | Validation Policy |
| SOP-208891 | Validation Master Plan |
| SOP-208833 | Risk Management |

- EXTERNAL REFERENCES

| Document ID | Title |
| --- | --- |
| ICH Q7 | Quality Guidelines for Good Manufacturing Practice Guidance for Active Pharmaceutical Ingredients |
| ICH Q9 | Quality Risk Management |
| ICH ISO Q10 | Pharmaceutical Quality System |
| ICH ISO 9001:2015 | Quality Management System Requirements |
| 21 CFR Part 11 | Regulations on electronic records and electronic signatures (ERES). |
| 21 CFR Part 211 | Current Good Manufacturing Practices for Finishes Pharmaceuticals |

- RESPONSIBILITIES

| Job Function and/or Department | Responsibility |
| --- | --- |
| All Employees | Must familiarize themselves with the quality documentation and implement the policies in their work. |
| Operational Management | They are committed to delivering all work to a high level of quality in a safe, ethical and sustainable environment for staff, visitors, suppliers and customers. Operational Management is responsible for ensuring that the structure, systems and resources are available to develop and manufacture products that conform to the customer, statutory and regulatory requirements and that operational procedures and standards are maintained. In addition, Operational management ensures the Management System is continually developed and its effectiveness is improved by establishing the Quality Policy and Quality Procedures, conducting Management Quality System Reviews, communicating the importance of meeting customers, statutory and regulatory requirements and ensuring the availability of resources. |
| Quality Control (QC) | Performs various analyses to evaluate the quality of raw materials, in-process materials, and finished goods and ensure compliance with established standards Checking or testing that the required specifications or quality standards are met. |
| Quality Assurance | The quality unit should be involved in all quality related matters. The quality unit should review and approve all quality-related documents. The main responsibilities of the independent quality unit should not be delegated. These responsibilities should be described in writing and should be described in writing and should include but not necessarily be limited to: - Releasing or rejecting all APls. Releasing or rejecting intermediates for use outside the control of the manufacturing company. - Establishing a system to release or reject raw materials, intermediates, packaging and labelling materials. - Reviewing completed batch production and laboratory control records of critical process steps before release of the API for distribution. - Making sure that critical deviations are investigated and resolved - Approving all specifications and master production instructions. - Approving all procedures impacting the quality of intermediates or APls. - Making sure that internal audits are performed. - Approving intermediate and API contract manufacturers - Approving changes that potentially impact intermediate or API quality. - Reviewing and approving validation protocols and reports. - Making sure that quality-related complaints are investigated and resolved. - Making sure that effective systems are used for maintaining and calibrating critical equipment. - Making sure that materials are appropriately tested, and the results are reported. - Performing product quality review. |

- DEFINITION

| Term | Definition |
| --- | --- |
| Business Management System | The management system contains the Quality management system, Risk Management, Knowledge Management and Health and Safety processes. |
| Quality Management system | Quality Management system monitors and manages quality for the Therapeutic GMP Manufacturing Suite and Analytical Testing Laboratory. |
| Quality Risk Management | A systematic process for the assessment, control, communication and review of risks to the quality of the drug product across the product lifecycle. |
| Risk | The combination of the probability of occurrence of harm and the severity of that harm. |

- PROCEDURE

  - The Quality Management System (QMS)

LGC’s Quality Management System (QMS) is set up to ensure all activities are conducted in compliance with guidelines outlined in ICH Q7 and Quality System Regulations and Current Good Manufacturing Practices (cGMP) as per the US FDA 21 Code of Federal Regulation (CFR) Parts 210 and 211 for pre-clinical and early phase clinical therapeutics.

The performance of the Quality Systems operates by identifying processes, resources and information required to manufacture products to defined requirements, documenting these processes, including the linkages between processes, collecting data that results from this process and analyzing the data against established criteria to determine whether the operation and control of the processes are effective. Actions are implemented to achieve planned results, safety and adherence to regulations, and continuous improvement of the process.

    - Components of the QMS

The key systems and processes used to manage, maintain and assure the quality of products include, but are not limited to, the items that are listed below:

      - Quality Management

      - Personnel Qualifications and Training

      - Control of the Manufacturing Suite

      - Control of Process Equipment

      - Control of Documentation and Records

      - Supplier and Materials Management

      - Production and Process Controls

      - Packaging and Labelling Controls

      - Storage and Distribution

      - Laboratory Controls

      - Validation

      - Change Control

      - Corrective Action and Preventive Action

  - Responsibilities of Quality Management

Senior management ensures the structure, systems and resources are available to develop and manufacture products that conform to the customer’s statutory and regulatory requirements. In addition, senior management ensures the Quality Management System is continually developed and its effectiveness improved by establishing the Quality Policy and Quality Procedures, conducting Management Quality System Reviews, communicating the importance of meeting customers, statutory and regulatory requirements and ensuring the availability of resources.

Organizational charts showing the arrangements for Operational and Quality Management can be found in the Site Master File.

  - Responsibilities of Operational Management

The main GMP responsibilities for Operational Management, including the Manufacturing Manager, Laboratory Manager and Head of Quality Control are detailed below and defined in individual quality and operational procedures.

- Adequate provision of resources

- Encouraging internal communication on quality issues at all levels of the organization.

- Quality Event review (including Change Control, Deviations, non­ Conformances, Out of Specification, Customer Complaints & Recalls) maintaining timelines and approval, assuring that Quality Events are investigated and resolved.

- Compliance and GMP activities (including meeting USP requirements and FDA guidance).

- Review and approval of batch record documentation, laboratory specifications, methods and procedures.

- Ensuring availability of appropriate equipment and consumables, maintain department and premises.

- Approval and Communication of Technical Quality Agreements and product specifications to team leaders/staff.

- Making sure that effective systems are used for maintaining and calibrating equipment.

- Make sure that products are appropriately manufactured and analyzed, and the results are reported correctly.

- Approval and monitoring of suppliers.

- Retention of records.

  - Responsibilities of the Quality Assurance Personnel

The Quality Assurance department has proven expertise in regulatory compliance and standards. It is independent of the operational work performed by both the Manufacturing and Laboratory Operation and acts to identify and facilitate process improvement by the owners of those processes themselves. Quality Assurance personnel facilitate the execution and documentation of process risk analyses and implement an audit program focused on the identified business risks to ensure that work is performed in compliance with the relevant standards, regulations, and customer requirements.

The Quality Manager has responsibility and authority for ensuring that the Quality Management System is implemented. While the Quality Manager is responsible for monitoring compliance, it is the Operational Managers and staff within the organization that take responsibility for ensuring that operational procedures and standards are maintained.

    - Internal Audit

Internal audits are carried out during the year per SOP-208827 Quality Assurance Audit Program in liaison with the internal department(s) being audited. Any observations that are raised during the inspection/audits are documented in a report that is circulated to the appropriate personnel. Any corrective and/or preventive actions resulting from internal audits are assigned to an owner and given a due date. Completion of the relevant corrective and/or preventive action will be documented as evidence of closure. Identify data integrity issues and opportunities to improve data integrity.

  - Quality Reviews

    - API Quality Reviews

Due to the nature of the API, only a small number of batches are manufactured annually, and few are manufactured to the same formulation. API quality Reviews are therefore not applicable where a statistically significant number of batches cannot be assessed.

    - Management Review

LGC will perform a periodic assessment of the quality system, manufacturing and QC testing activities to ensure their continuing suitability and effectiveness under the requirements GMP regulations, and to introduce necessary changes or improvements Management Review is conducted per SOP 202278 Management Review Procedure.

  - Personnel Qualifications and Training

Employees must have the appropriate level of education, training, and experience to perform their job function per SOP-208814Training Program. Contractors, Consultants and Temporary employees will receive training on an as-needed basis, as determined by their function and manager responsible. The employee's current job function and responsibilities are detailed in the job description and are approved by the employee and direct supervisor. The employee's training curriculum is composed of core procedures and a list of required department and job specific SOPs and/or work instructions as determined by the employee's job function and department manager or direct supervisor. The training curriculum is based on the employee's job function and responsibilities, listing the minimum training requirements.

  - Premises and Equipment

The Therapeutic GMP Manufacturing Suite and Analytical Testing Laboratory are modern purpose-built buildings, designed to facilitate contract manufacturing of Active Pharmaceutical Ingredients (APls) and analytical testing and Quality Control (QC) release of oligonucleotides intended for late stage pre-clinical and early phase, small scale, clinical therapeutic use.

The LGC Petaluma location has a facility integrated monitoring system that measures the temperature and pressure within the manufacturing suite and temperature in the laboratory areas and notifies users of out of compliance events (SOP-208916 REES Temperature and Humidity Monitoring System). The manufacturing suite cleanroom classifications are managed under SOP-208941 Environmental Monitoring of the Therapeutic GMP Suite. In addition, SOP- 208828 is in place for the use of personal protective equipment and good hygiene practices in the laboratories that protect both the staff and API from the risks of cross contamination or damage. A pest control program is also in place and is described in SOP-202400 Pest Control.

Computerized system, equipment, methods and processes are assessed fit for their intended purpose in compliance with the principles GMP per 21 CFR Part 211 and ICH Q7 guidelines and to 21 CFR Part 11 for electronic records and signatures compliance as detailed in the Validation Policy (POL-208881) and Validation Master Plan (SOP-208891). Equipment is qualified and commissioned for use per SOP-208943and any required calibration and preventive maintenance is performed per SOP-202698 Calibration and Preventive Maintenance Program.

  - Documentation

The documentation operated by the LGC is defined procedurally and includes the following.

    - Level 1- Policies (POL)

Policies are considered Level 1 documents are considered the highest tier of documentation hierarchy and are designed to detail the high-level expectation for compliance with local, state and regulatory requirements. Quality Policy, Risk management Policy along with the site Master File describes the entirety of the LGC Quality System and applicable regulatory requirements.

    - Level 2 - Standard Operating Procedures (SOPs)

SOPs are documents that generally describe a process, system or set of requirements in detail to perform a specific task. SOPs directly support the Site Master File and policy documents.

    - Level 3- Forms and Records

Working documents on which data is recorded. These documents include, but are not limited to manufacturing records, status tags, usage forms, labels and labelling, laboratory records, Quality systems records, laboratory notebooks and other objective evidence records.

    - Raw material and API Specifications

These describe the key properties and analytical quality attributes and are approved by Quality.

    - Manufacturing Batch Record

Manufacturing Batch Records are used to control and record all batch manufacturing activities.  The batch manufacturing record lists, the material inputs, and operations performed in the manufacture of APL will record variable batch details and quantities of components. It acts as a record of processes performed, reconciliation of usage and yield calculation.

    - Training Records

All personnel who undertake activities within the Therapeutic GMP Manufacturing suite and QC laboratory are assigned a training curriculum and provided a job description. Employee training records are kept in a centralized location.

    - Management of Changes to Controlled Documents

Any changes to published, approved and current documents, including periodic review are defined procedurally and are managed through Change Request per SOP-208821 Change Control.

    - Archiving Documentation

The requirements for the identification, storage, protection, retrieval, retention and disposition of written or electronic GMP records are defined procedurally in SOP-208822 Archiving GMP Records. Archive facilities (including offsite archive) are provided for the secure and safe storage and ready retrieval of records in a suitable environment to prevent loss and deterioration.

  - Material Management and Warehousing

POL-208882 Material Quality Policy establishes a general policy that describes the receipt, identification, quarantine, storage, handling, disposal, sampling, testing and approval or rejection of materials. Materials are handled and stored in a manner to prevent degradation, contamination, and cross-contamination. Materials are stored in appropriate containers off the floor and, when appropriate, in a space suitably spaced to permit safe storage, cleaning and inspection. Materials are stored in condition and for a period that has no adverse effect on their quality and are controlled so that the oldest stock is used first. Certain materials in suitable containers can be stored outdoors, provided identifying labels remain legible. Rejected materials are identified, labelled and controlled under a quarantine system designed to prevent their unauthorized use in manufacturing.

The Supplier Qualification Program is described in SOP-208815 and ensures that suppliers and service providers are selected, assessed and qualified to ensure that they meet quality requirements.

  - Control of Non-Conforming Product

SOP-208831 Control of Nonconforming Product describes the procedure for the identification, documentation, segregation, control, and disposition of all nonconforming product. Non-Conforming Product is any material that is found to be suspect or nonconforming at any point during the receiving inspection, production, or final packaging that does not meet Product requirements, Customer specifications, and other specified standards or cannot be used in production.

  - Corrective Action and Preventive Action

The corrective and preventive action process is defined in SOP-201900 CAPA Policy and is intended to prompt analysis of appropriate sources of quality information to rectify identified or potential causes of non-conforming product, processes or other quality problems. This system also supports continual quality improvement within the Quality Management System.

  - Distribution, Complaints, Product Defects and Recalls

    - Distribution

      - Temperature Monitoring During Transportation

      - Apl’s that are manufactured at the Petaluma Therapeutic GMP Manufacturing suite are transported by a sponsor-approved shipping agency in a manner that does not adversely affect their quality.  Sponsors maintain responsibility for providing and qualifying the selected shipping agency.

      - All shipments of products sensitive to environmental conditions dispatched by LGC will be accompanied by a data logger in agreement with the sponsor’s requirements.

      - Product Traceability

All API batches produced by LGC are identified by a unique number allowing full traceability.

      - Supply Chain Security

All materials’ status changes and subsequent movements are recorded and traceable.  Procedures are in place to ensure that the security of shipments is maintained throughout the supply chain through manufacturing, testing, holding, dispatching, shipment and receipt.

    - Complaints, Product Defects and Recalls

      - Complaints and Product Defects

A customer complaint including, for example, a customer­ initiated recall related to the manufactured API will result in a complaint investigation per SOP-203727 Complaint Handling Policy. Each customer complaint received by LGC is given a unique number, logged and investigated per the GMPCS workflow outlined in SOP-203727 for GMP products. Results, conclusions and where appropriate corrective and preventive actions (CAPA) are documented in the corresponding complaint report. A written response is made to the complainant concerned. Records for every complaint investigated are reviewed by Quality Assurance. Complaint history is reviewed on a regular basis to assess if there are any underlying trends or concerns.

  - Continuous Improvement

LGC shall continually improve the effectiveness of its management system throughout the use of its quality policy, quality objectives, audit results, analysis of data, corrective and preventative actions and management review.