Document Authorization:

|  | Name | Date | Signature |
| --- | --- | --- | --- |
| Owner | Brian Martin | 04Jan2021 | See Signature on File |
| Operation Management | Xibo Li | 04Jan2021 | See Signature on File |
| Operation Management | Pierre Barratt | 04Jan2021 | See Signature on File |
| Quality Assurance | Emelie Gunter | 04Jan2021 | See Signature on File |

Changes from previous version:

| Section | Summary of Changes | Change Control Number |
| --- | --- | --- |
| ALL | New Procedure | OCR 20643 |

- PURPOSE

The purpose of this SOP is to describe the process for identification, investigation communication and documentation of Customer Feedback and Complaints.

- SCOPE

This procedure applies to all products and material manufactured by the Therapeutics GMP Manufacturing Suite and all services provided by the Analytical Testing Lab in Petaluma, CA.

- INTERNAL REFERENCES

| Document ID | Title |
| --- | --- |
| POL-208849 | Quality Policy |
| SOP-208813 | Good Documentation Practices |
| SOP-208831 | Control of Nonconforming Product |
| SOP-208890 | Deviation Management |
| SOP-209261 | Root Cause Analysis |
| SOP-210114 | CAPA Management |
| FM-208963 | Deviation Report |
| FM-209134 | Deviation Report Extension Request Form |
| FM-210331 | Customer Feedback Form |

- EXTERNAL REFERENCES

| Document ID | Title |
| --- | --- |
| ICH Q7 (API) | Good Manufacturing Practice Guidance for Active Pharmaceutical Ingredients |
| ICH Q9 | Quality Risk Management |
| ICH Q10 | Pharmaceutical Quality System |

- RESPONSIBILITIES

| Job Function and/or Department | Responsibility |
| --- | --- |
| All Personnel | - Informing their Operational Management and QA when receiving customer feedback or complaint. - Responsible for initiating a Customer Feedback form. |
| Operational Management | - Evaluating customer’s feedback for escalation to a customer complaint. - Assign an investigator to a customer complaint. - Working with Quality Assurance to determine any corrective and/or preventative actions resulting from the customer complaint. - Communicating the initiation of a Customer Complaint with the customer. - Communicating the resolutions of the Customer Complaint with the customer. |
| Quality Assurance | - Evaluating all Customer complaints. - Issuing a deviation number. - Working with Operational teams and Management to determine the root cause, any corrective and/or preventative actions resulting from the customer complaint to ensure timely completion of the complaint. |
| Investigator | - Facilitating a thorough root cause analysis as per SOP-209261. |

- DEFINITION

| Term | Definition |
| --- | --- |
| Complaint | Where a customer has contacted LGC to complain about any aspect of work conducted or the quality of service provided by LGC. This may include alleged deficiencies related to the identity, quality, durability, reliability, safety, effectiveness or performance of a product after it is released for distribution or any administrative, service- related issues such as (but not limited to) data errors, report quality, timeliness, and quantity. |
| Feedback | General inquiries about services or results can be positive, neutral or negative. Not all negative feedback is a complaint. |
| Corrective Action and Preventive Action (CAPA) | Corrective Action and Preventive Action (CAPA) |

- PROCEDURE

  - Receiving Customer Feedback

Feedback can be received verbally, by phone, by email or in writing and must be recorded. A description of the information and handling process for feedback is available in Attachment 1 and must be filled out upon receiving customer communications outside of normal project communications that can be interpreted as the customer’s opinion about services rendered by LGC. Positive and neutral feedback may be forwarded on to management for review and or included in management review.

Feedback will be reviewed by QA and may be converted to a complaint. The deviation/complaint will be classified according to the deviation procedure, as it may have already had an impact on customer relations and has been through LGC checking and control procedures.

    - The complaint is logged by initiating a deviation using FM-208963 as per Deviation Management SOP-208890.

    - The route of the complaint must be recorded in the description e.g. letter, Email, Telephone or verbal (perhaps at a customer meeting). If there is any paperwork associated with the complaint, as in an email, this is added as an attachment or its location recorded, (e.g. email received 03-Dec-20, saved in ABC\\123).

    - The date that the complaint was raised is recorded in the description and any mitigation actions taken are recorded.

    - The identity of the person (and company) that raised the complaint is to be recorded in the description. The identity of the person who received the complaint (if different from the person who recorded the complaint) must be recorded in the description.

    - The complaint will be assessed and an investigator assigned.

    - Operational Management will communicate the initiation of a Customer Complaint with the customer.

    - The customer must be informed of the outcome of the investigation and details recorded with the investigation records (see section 7.3).

  - Investigation

    - The assigned investigator will lead the investigation and facilitate the root cause analysis meeting as per SOP-209261.

    - The assigned investigator will identify and assemble an investigation team. The best people to identify with report and support the investigation of quality incidents are those who are most closely involved with any procedure and are considered experts. A QA representative should be part of the investigation team.

    - The assigned investigator determines the most appropriate tool(s) and format to use and document the investigation in the root cause analysis report.

    - The investigation should be concluded within 30 days after the event is reported to QA. If more time is needed, the investigator needs to request an extension using FM-209134 with justification. The extension will need to be approved by QA and operation management.

    - The investigation should cover the following:

    - A background section to give context and provide basic information on the customer complaint and an accurate and detailed chronology of events.

    - Identify all potentially affected materials, including other batches beyond those initially identified.

    - A trend of all deviations for a minimum of 12 months or a time justified should be conducted to look for reoccurring issues. If the deviation has previously occurred two or more times within the period identified in the investigation, this may indicate that previous corrective actions have not been completed or were not effective or the root cause was not adequately identified.

    - A proposed CAPA plan should be described in the deviation report. All probable root causes identified in the report should be appropriately evaluated for CAPA implementation.

    - Any supporting documentation should be attached to the deviation report and should refer to the deviation number and should be referenced in the deviation report.

    - The investigation section should be signed up by the investigator and approved by operational management and QA.

  - Inform Customer

The investigator and management prepare an appropriate summary of the investigation and inform the customer of the investigation outcome.

  - Actions

Once a Root Cause has been concluded, Corrective and Preventative actions need to be determined to address the root cause and or mitigate the associated risk. Before each action is assigned, the investigator must inform the actioner and discuss an appropriate timescale for action completion. This agreed timescale must be recorded against the action when it is raised within the CAPA system. In the event that the originally agreed timescale is no longer achievable for an action, an extension may be sought, depending on an assessment of any risk, as agreed with QA.

7.5.	Effectiveness and Trending

An effectiveness check should be assigned as an action following the investigation to ensure all actions have been effective. A suggested timeframe 6 months after investigation completion date.