Document Authorization:

|  | Name | Date | Signature |
| --- | --- | --- | --- |
| Owner | Josephine Gammad | 11Jan19 | See Signature on File |
| Operation Management | Xibo Li | 14Jan19 | See Signature on File |
| Quality Assurance | Stacey Kaufusi | 14Jan19 | See Signature on File |

Changes from previous version:

| Section | Summary of Changes | Change Control Number |
| --- | --- | --- |
| All | Removed the reference to PSOP024 (208823) in the document | PCC18068 |

- PURPOSE

The purpose of this document is to describe the specific requirements associated with planning and conducting the quality audit program in compliance with regulatory guidance, requirements and standards.  Quality audits are formal, systematic and independent, based upon facts, and should not be conducted in a covert manner.

- SCOPE

This SOP applies to internal quality audits of the following:

- Therapeutic GMP Manufacturing Suite

- Analytical Testing laboratory

This SOP applies to external quality audits of suppliers of products or services that support the Therapeutic GMP Manufacturing Suite and Analytical Testing laboratory that include but are not limited to the job functions and/or departments listed in PSOP025 TABLE 1.

Areas not included in the Quality Audit Program are Finance/Accounting and Human Resource functions.

- INTERNAL REFERENCES

| Document ID | Title |
| --- | --- |
| PPOL001 (208849) | Quality Policy |
| PSOP022 (208821) | Change Control |
| PSOP025 (208824) | Signatory Authority |
| PSOP030 (208890) | Quality Event Investigation |
| PSOP043 (208833) | Risk Management |
| PFRM027 (208843) | Supplier and Subcontractor Audit Report |

- EXTERNAL REFERENCES

| Document ID | Title |
| --- | --- |
| ICH Q7 (API) | Good Manufacturing Practice Guidance for Active Pharmaceutical Ingredients (API) |
| ICH Q9 | Quality Risk Management |
| ICH Q10 | Pharmaceutical Quality System |
| ISO 9001:2015 | Quality Management System Requirements |

- RESPONSIBILITIES

| Job Function and/or Department | Responsibility |
| --- | --- |
| Quality Assurance | - Maintaining quality audit schedule - Preparing and planning quality audits - Leading and/or participating in quality audits - Maintaining quality audit files, including reports and findings - Following up on all findings (nonconformities and recommendations) initiated as a results of quality assurance audits - Trending quality assurance audit findings for supporting the periodic assessment of the quality system and to introduce necessary changes or improvements. |
| Operational Management | - Aiding in support of the quality audit program - Ensuring departments/functions responsible for generating timely responses to quality audit program findings are addressed in a timely manner - Ensuring departments/functions responsible for executing action plans to address deficiencies and to eliminate detected nonconformities and their causes, either directly or through delegation, meet target action plan timelines |

- DEFINITION

| Term | Definition |
| --- | --- |
| Audit Team | The party is responsible for performing an internal audit. An audit team will preferably consist of a group of at least two auditors (a lead auditor and a support auditor) but may consist of a single auditor in some instances. |
| Auditee | A member of a department or group being audited |
| Closing Date | The date assigned when an adequate response to any quality audit finding has been approved by Quality Assurance. |
| Lead Auditor | Personnel qualified based upon completion of one or more of the following criteria: previous demonstration of quality audit performance, documented training conducted by a qualified trainer, and/or successful completion of a recognized quality auditing course. |
| Nonconformity | A failure to meet a requirement (e.g., regulatory, statutory, or procedural) |
| Objective Evidence | Information, which can be proven true, is based on facts obtained through observation, measurement, test, or other means. |
| Observation | An observation is objective evidence that may indicate future problems. |
| Quality Assurance Audit | A systemic and independent examination and evaluation to determine whether quality activities and results comply with planned arrangements and whether these arrangements are implemented effectively and are suitable to achieve objectives. |
| Quality Assurance Management Representative | A manager appointed to ensure the Quality System is implemented, maintained, and undergoing continual improvement. |
| Recommendation | A recommendation is not a clear Quality System violation and should be regarded as an opportunity for improvement. Actions may or may not be taken based on the auditee’s management decision. |

- PROCEDURE

  - Preparing for and conducting the audit

    - Quality audits are planned and scheduled by the Lead Auditor. The annual schedule is prepared during the first quarter of each calendar year. The schedule and any documentation associated with the schedule modification is maintained by Quality Assurance. See TABLE 1 for a Quality Audit Schedule Example.

    - The Lead Auditor or designate will send notification to the auditee

    - The areas to be audited include but are not limited to the following:

- Requirements checklist

- Methods and procedures

- Review procedures

- Staff and record keeping of training

- Equipment and functional verification and preventive maintenance charts

- Proficiency surveys

- Equipment control charts

- Workload, sample and data handling processes

- Records and reports (work products)

- Standards, organisms, certified reference materials

- Housekeeping

- Chemical storage

- Hazardous waste

- Laboratory environment (including temperature monitoring)

- Manufacturing environment (including HVAC)

    - Audits will be carried out by personnel who are independent of the area they are examining. Personnel conducting quality assurance audits are trained and qualified based upon completion of one or more of the following criteria:

      - Previous demonstration of performing audits

      - Documented training conducted by a qualified trainer

      - Successful completion of a recognized auditing course

    - Checklists to be used and previous audit reports, corrective actions and audit checklists are provided to the auditors by the Lead Auditor for distribution and review.

    - If an audit team or external auditor is utilized, the team or auditor will begin on the day of the audit conducting an opening meeting with the auditee responsible for the functional areas and sections to be audited. During this meeting, the Lead Auditor will introduce the team, outline the plan for an auction and obtain the names of the section personnel who should be contacted to assist the auditors in each functional area. This meeting can be conducted by various means, i.e., Physically or electronically.

    - Auditors conduct the audit in accordance with the schedule and document audit findings. Auditors receive information through several sources:

      - Interviews with personnel

      - Examination and documentation

      - Observation of activities and conditions

      - Review of quality and technical records, and

      - Use of checklists

    - To assess all areas of the audit, auditors may select a volatile case and follow its progress from beginning to end examining all aspects of the quality system relating to it.

    - Upon completion of the audit the Lead Auditor will compile the critical findings and provide the section representatives with a preliminary report. This preliminary report is synopsis of the critical findings only and provides section personnel with an opportunity to voice their critical findings accordingly.

    - The Lead Auditor assimilates all data from the audit and prepares a final audit report to include all findings using PFRM027 (208843) and submits it to the appropriate management within 45 days from the audit start date.

  - Quality Audit Numbering and Naming Convention

    - Each quality audit will have a unique numbering identifier. Once the number is allocated to any quality audit, the same number cannot be repeated for another quality audit.

    - Each quality audit number consists of seven (7) alphanumeric characters and is assigned by Quality Assurance. For example, each quality audit number will contain the letters, “PA” followed by the two-digit year, then three (3) unique numeric characters: PA17123.

    - The naming convention for quality audits should be succinct and meaningful.  Some examples of representative quality audit names include:

Process Name:  XXX

Department Name:  XXX

System Name:  XXX

  - Nonconformance Severity Rating

    - The non-conformance severity rating is established using a risk-based approach according to the FMEA score and scales provided in PPOL003 (208881).