Document Authorization:

|  | Name | Date | Signature |
| --- | --- | --- | --- |
| Owner | Amadu Sirleaf | 15Jan2020 | See Signature on File |
| Operation Management | Xibo Li | 16Jan2020 | See Signature on File |
| Quality Assurance | Emelie Gunter | 16Jan2020 | See Signature on File |

Changes from previous version:

| Section | Summary of Changes | Change Control Number |
| --- | --- | --- |
| 6.0 | Clarify that “Reprocessing”/” Rework” is not allowed for materials or products undergoing the Synthesis, Cleavage and Deprotection, Purification, Ultrafiltration/Dia Filtration, and Lyophilization processes. | DCR20015 |

- PURPOSE

The purpose of this document is to provide a consistent procedure for the identification, documentation, segregation, control, and disposition of all nonconforming product.

- SCOPE

This SOP applies to products purchased for use in the following areas:

- Therapeutic GMP Manufacturing Suite

- Analytical Testing Laboratory

Nonconforming product encompasses the following:

- Incoming raw material

- Customer supplied product

- Product processed and moved in-house

- Finished product detected during final inspection

- Finished product identified by the customer.

Final product undergoing release testing or stability testing that fails to meet expected result or specification and in-process testing where results are being used for process calculations that are outside of established specifications will be assessed, investigated and approved as per PSOP042.

Deviations from method and standard operating procedures will be assessed, investigated and approved as per PSOP030 (208890).

- INTERNAL REFERENCES

| Document ID | Title |
| --- | --- |
| PPOL001 (208849) | Quality Policy |
| PSOP022 (208821) | Change Control |
| PSOP025 (208824) | Signatory Authority |
| PSOP030 (208890) | Quality Event Investigation |
| PSOP034 (208829) | Quality Agreements |
| PSOP042 (208832) | Out Of Specification, Out of Expectation (OOE) and Out Of Trend (OOT) |
| PSOP043 (208833) | Risk Management |
| PFRM033 (208963) | Quality Event Investigation Form |

- EXTERNAL REFERENCES

| Document ID | Title |
| --- | --- |
| ICH Q7 (API) | Good Manufacturing Practice Guidance for Active Pharmaceutical Ingredients (API) |
| ICH Q9 | Quality Risk Management |
| ICH Q10 | Pharmaceutical Quality System |
| ISO 9001:2015 | Quality Management System Requirements |

- RESPONSIBILITIES

| Job Function and/or Department | Responsibility |
| --- | --- |
| All Employees | Responsible for quality and have the authority to initiate action to contain nonconformities. |
| Receiving Personnel (QC department) | Verify at receiving inspection that material provided by suppliers is in accordance with customer and/or Quality specifications. Arrange to inform suppliers when the nonconforming product is received. |
| Quality Assurance | Perform the Final Inspection to verify that production conforms to the Quality Agreement, purchase order, and other quality standards. |
| Production Personnel | Maintain production standards. Perform Production Inspections as required. Notify operational management of suspected nonconforming product. |
| Department Supervisor and/or Operational Management, and Quality Assurance | Identifies standards to define conforming product and nonconforming product, record this on PFRM033 (208963) and apply “Hold”, “Scrap”, or “Rework” tag. Isolates all nonconforming products in a designated area when required. Provides for any “Accepted”, “Hold-Do Not Use”, “Rework”, or “Scrap” dispositions. Serve as members of the Material Review Board (MRB) |
| Members of the MRB | Have the experience, knowledge and training necessary to make the appropriate decisions regarding the disposition of nonconforming material. The purpose of the MRB is to - Review all nonconforming products exposed during: - Receiving inspection - Production inspection - Final inspection - Decide on the disposition of nonconforming product and record it in section D5 of PFRM033 (208963). The qualifications, scope of approval, and authority by which employees are members of the MRB are defined and documented within their training records. Typically, the MRB shall consist of one or more of the following personnel when required: - Vice President of Business Development - Quality Assurance Manager - Department Supervisor and/or operational management - Any personnel judged to have an impact on a solution toward the disposition of nonconforming product. - Record review, decision taken on the disposition of nonconforming and any identifies actions on PFRM033 (208963). |

- DEFINITION

| Term | Definition |
| --- | --- |
| Nonconforming Product | Material that does not meet: - Product requirements - Customer specifications - Other specified standards - Cannot be used in production |
| Repairable or Reworkable | Nonconforming material that is physically segregated from conforming material and can be reprocessed to conform to specification. Corrected nonconforming product is subject to re-verification to demonstrate conformity to requirements. Note: “Reprocessing”/” Rework” is not allowed for materials or products undergoing the Synthesis, Cleavage and Deprotection, Purification, Ultrafiltration/Dia Filtration, and Lyophilization processes. |
| Scrap | Material that is nonconforming and has been processed beyond a point of reclaim. Product dispositioned for scrap is conspicuously, permanently marked or positively controlled to prevent unintended use. |
| “Hold – Do Not Use” | Material that is potentially nonconforming and waiting for disposition by the MRB. |

- PROCEDURE

  - Identification of Nonconforming Product

    - Any product or material that is found to be suspect or nonconforming at any point during the receiving inspection, production, or final packaging of the product is removed from work in progress and will be clearly identified with an appropriate marker.  The product or material will be held in the area or in Quarantine and will await disposition that is recorded on PFRM033 (208963).

    - The nonconforming material will be recorded on PFRM033 (208963) according to the following dispositions:

      - Reworked

      - Accepted by concession

      - Scrapped

      - Returned to supplier

  - Segregated Areas for Nonconforming Product

    - Areas for nonconforming products are located throughout the company and identified with signs, floor tape, or other appropriate means.  Nonconforming product areas may be used to store nonconforming products, suspected nonconforming products, or products that cannot be processed further without Operational Management or MRB intervention.

    - “Hold”, “Scrap”, and “Rework” markers are available in the nonconforming product areas.  Product that can be dispositioned quickly or is readily identifiable may be identified with a generic “Hold”, “Scrap”, or “Rework” marker, provided that MRB dispositions are recorded on PFRM033 (208963).  Product that cannot be dispositioned quickly or is not readily traceable to a customer order or some other positive identification should be affixed with a completed “Hold”, “Scrap”, or “Rework” tag.

    - When it is not practical to move product to a designated nonconforming product area, the product may be conspicuously marked with an appropriate tag or marker to prevent unintended use.

    - Nonconforming product, once identified, shall not be used in production without the approval of the MRB.  Suspected nonconforming product, or product awaiting MRB intervention should not be removed from a designated nonconforming product area without MRB approval.

    - When the MRB sends an order into rerun, the results shall be recorded.  Nonconformances detected within the company shall be recorded as an “Internal Nonconformance”.  Nonconformances detected by a customer shall be recorded as a “Customer Complaint.”  The actions taken to eliminate the detected nonconformity, as well as the actions taken to contain the effect of the nonconformity on other processes or product shall be documented.

    - Any output that is produced and passed on to the next production step is assumed to be in compliance to specification.

    - The results of an MRB disposition will be recorded on PFRM033 (208963).  A “Hold”, “Scrap”, or “Rework” tag does not need to be retained as a quality record unless it is the sole source of documentation.  A “Hold”, “Scrap” or “Rework” tag retained as a quality record should be maintained with the customer order or batch record.

    - Nonconforming customer supplied property is disposed of in accordance with instruction in the Quality Agreement.

    - Nonconforming incoming raw material is disposed of in accordance with the supplier agreement or internal disposal procedures.

    - If a nonconformance is discovered after a product has shipped, the customer is to be notified without undue delay (same business day if possible) with a clear description of the nonconformance and the information necessary to identify any affected parts.  The actions taken to alert the customer and control the nonconforming product will be documented.  When appropriate, affected suppliers, distributors, other internal departments, or regulatory authorities shall be notified in a timely manner as well.

    - When a nonconformance results in a deviation from requirements, Quality Assurance does not disposition nonconforming product as “use-as-is” unless specifically authorized by the customer.  Records of the authorization shall be maintained.

  - In-process Inspection / Final Inspection of Nonconforming Product

    - Use the steps in the table below to control nonconforming product identified during in-process inspection.

| Step | Action | Person(s) Responsible |
| --- | --- | --- |
| 1 | Nonconforming product identified during in-process inspection or final inspection | Production personnel |
| 2 | Production is stopped and department supervisor / lead inspector is notified | Production personnel |
| 3 | Nonconforming product is reviewed for disposition | Department Supervisor / Lead Inspector |
| 4 | Identified nonconforming product is marked with a “Hold” tag | Department Supervisor / Lead Inspector |
| 5 | MRB member is notified to review nonconforming product samples and applicable reports | Department Supervisor / Lead Inspector |
| 6 | Decide disposition of nonconforming material and record on PFRM033 (208963). | Department Supervisor / Lead Inspector and/or MRB |
| 7 | Record results of disposition “Hold” tag. If appropriate, record the nature of the nonconformance and any subsequent actions taken. | Department Supervisor / Lead Inspector and/or MRB |
| 8 | Dispose of material | Department Supervisor and/or MRB |

  - Repairable or Rework

    - Use the steps in the table below to control nonconforming product identified as rework.

| Step | Action | Person(s) Responsible |
| --- | --- | --- |
| 1 | Nonconforming product reviewed and designated as repairable or reworkable and recorded on PFRM033 (208963). | Department Supervisor and/or MRB |
| 2 | “Repairable or Rework” tag affixed to identified rework material | Department Supervisor and/or MRB |
| 3 | Product is reworked | Production personnel |
| 4 | Reworked product is inspected to ensure conformity to the original requirements | Department Supervisor and/or MRB |
| 5 | Documentation is forwarded to Quality Assurance to be maintained as a quality record | Department Supervisor and/or MRB |

  - Rejected or Scrap

    - Use the steps in the table below to control nonconforming product identified as Rejected or Scrap.

| Step | Action | Person(s) Responsible |
| --- | --- | --- |
| 1 | Nonconforming product reviewed and designated as rejected or scrap and recorded on PFRM033 (208963). | Department Supervisor and/or MRB |
| 2 | “Scrap” tag is attached to material. If appropriate, nonconforming material may be disposed of immediately without the issue of a scrap tag. | Department Supervisor and/or MRB |
| 3 | Scrap material is placed in designated area to prevent unintended use or delivery. Permanently mark material as “Scrap” if appropriate. | Department Supervisor and/or MRB |
| 4 | Scrap material is disposed of properly. | Department Supervisor and/or MRB |

  - Rerun an order

    - Use the steps in the table below to rerun an order.

| Step | Action | Person(s) Responsible |
| --- | --- | --- |
| 1 | Order must be rerun due to nonconformance | Department Supervisor and/or MRB |
| 2 | Documents/information of the nonconformance and disposition of product on PFRM033 (208963) is forwarded to Quality Assurance. | Department Supervisor and/or MRB |
| 3 | Documentation is generated | Quality Assurance |
| 4 | Within the batch record, the “Rerun” tag is attached. Note if the order is to be rerun for the complete or a partial quantity. Describe the nature of the nonconformance. Amend the listed processes as necessary to correct the immediate cause of the nonconformance. | Quality Assurance |
| 5 | Order is returned to production | Quality Assurance |